# Solar Power Plant CEO Comprehensive Performance Report

## Generated Based on CEO Dashboard Prompts & Operational Data Analysis

Plant Name: ABC Solar Power Plant
Plant Capacity: 100 MWp
Location: Maharashtra, India
Reporting Period: July 2026
Report Type: CEO Executive Management Report

# 1. Executive Summary

The 100 MWp solar power plant demonstrated stable operational performance during July 2026, maintaining strong availability and safety performance. However, the plant experienced a generation shortfall of 800 MWh (5%) compared with the planned target due to inverter failures, grid interruptions, and module soiling losses.

The plant achieved:

- Actual Generation: 15.2 GWh

- Target Generation: 16.0 GWh

- Generation Achievement: 95%

- Performance Ratio (PR): 81.7%

- Plant Availability: 99.3%

- Inverter Availability: 98.9%

- Revenue Generated: ₹7.65 Crore

- Operating Expenses: ₹48 Lakh

- Safety Incidents: 0

The primary management focus should be:

- Reducing inverter-related downtime.

- Improving PR through efficiency optimization.

- Reducing corrective maintenance costs.

- Implementing predictive maintenance systems.

# 2. CEO KPI Dashboard

| KPI | Target | Actual | Variance | Status |
| --- | --- | --- | --- | --- |
| Plant Capacity | 100 MWp | 100 MWp | 0 | 🟢 |
| Energy Generation | 16 GWh | 15.2 GWh | -0.8 GWh | 🟡 |
| Generation Achievement | 100% | 95% | -5% | 🟡 |
| Performance Ratio | 82% | 81.7% | -0.3% | 🟢 |
| Plant Availability | >99% | 99.3% | +0.3% | 🟢 |
| Inverter Availability | >99% | 98.9% | -0.1% | 🟡 |
| Revenue | ₹8.16 Cr | ₹7.65 Cr | -₹51 Lakh | 🟡 |
| OPEX | <₹50 Lakh | ₹48 Lakh | Within Budget | 🟢 |
| Safety | Zero Incident | Zero Incident | No deviation | 🟢 |

# 3. Monthly Performance Analysis Report

## Performance Comparison

| Parameter | Planned | Actual | Difference |
| --- | --- | --- | --- |
| Generation | 16 GWh | 15.2 GWh | -0.8 GWh |
| Export Energy | 15.8 GWh | 15 GWh | -0.8 GWh |
| Revenue | ₹8.16 Cr | ₹7.65 Cr | -₹51 Lakh |
| PR | 82% | 81.7% | -0.3% |

# 4. Energy Generation Target Achievement Report

## Generation Deviation Analysis

| Cause | Energy Loss | Contribution |
| --- | --- | --- |
| Inverter Failures | 110 MWh | 39% |
| Grid Outages | 70 MWh | 25% |
| Module Soiling | 50 MWh | 18% |
| Weather Variation | 30 MWh | 11% |
| Other Losses | 20 MWh | 7% |
| Total Loss | 280 MWh | 100% |

## Root Cause Analysis

### Major Issue 1: Inverter Failure

Equipment:

- INV-03

- INV-05

Cause:

- IGBT module failure

- Cooling fan malfunction

Impact:

- 110 MWh generation loss

- ₹5.6 Lakh revenue impact

Action:

- Replace defective components

- Implement predictive monitoring

### Major Issue 2: Grid Outage

Cause:

- Utility shutdown

Impact:

- 70 MWh energy loss

- ₹3.5 Lakh revenue impact

Action:

- Improve grid coordination

- Analyze outage patterns

# 5. Performance Ratio (PR) Improvement Report

## PR Trend

| Month | PR |
| --- | --- |
| Feb | 82.5% |
| Mar | 82.3% |
| Apr | 82.1% |
| May | 81.9% |
| Jun | 81.8% |
| Jul | 81.7% |

## PR Reduction Factors

| Factor | Impact |
| --- | --- |
| Module Soiling | Medium |
| High Temperature | Medium |
| Inverter Efficiency Reduction | High |
| Equipment Downtime | High |

## Recommended PR Improvement Actions

| Action | Expected Improvement |
| --- | --- |
| Optimize module cleaning | +0.5% PR |
| Improve inverter efficiency | +0.5% PR |
| Reduce downtime | +1% PR |

Expected Future PR: 82.5%–83%

# 6. Revenue Impact Analysis Report

## Financial Impact

| Parameter | Value |
| --- | --- |
| Export Energy | 15 GWh |
| PPA Tariff | ₹5.10/kWh |
| Expected Revenue | ₹8.16 Crore |
| Actual Revenue | ₹7.65 Crore |
| Revenue Loss | ₹51 Lakh |

## Revenue Loss Contributors

| Cause | Loss |
| --- | --- |
| Inverter Failure | ₹28 Lakh |
| Grid Outage | ₹12 Lakh |
| Soiling | ₹7 Lakh |
| Other | ₹4 Lakh |

# 7. OPEX Optimization Report

## Monthly Cost Analysis

| Category | Cost |
| --- | --- |
| Preventive Maintenance | ₹12 Lakh |
| Corrective Maintenance | ₹15 Lakh |
| Cleaning | ₹8 Lakh |
| Spare Parts | ₹6 Lakh |
| Security | ₹5 Lakh |
| Administration | ₹2 Lakh |
| Total OPEX | ₹48 Lakh |

## Observation

Corrective maintenance cost is higher than preventive maintenance.

### Recommendation:

Increase preventive maintenance activities to reduce emergency repair costs.

# 8. ROI Performance Report

## Investment Analysis

| Parameter | Value |
| --- | --- |
| Project CAPEX | ₹450 Crore |
| Monthly Revenue | ₹7.65 Crore |
| Monthly OPEX | ₹48 Lakh |
| Monthly Operating Profit | ₹7.17 Crore |
| Annual ROI | 15.8% |

## ROI Gap Analysis

| Factor | Impact |
| --- | --- |
| Generation Loss | Reduced ROI |
| Equipment Downtime | Reduced revenue |
| High Corrective Maintenance | Increased cost |

## ROI Improvement Plan

- Increase generation by reducing downtime.

- Improve PR by 1–2%.

- Reduce corrective maintenance expenses.

# 9. Operational Risk Assessment Report

| Risk | Probability | Impact | Priority |
| --- | --- | --- | --- |
| Inverter Failure | High | High | Critical |
| Grid Instability | Medium | Medium | High |
| SCADA Failure | Medium | Low | Monitor |
| Module Degradation | Low | Medium | Monitor |

# 10. Energy Loss Root Cause Report

## Loss Waterfall

| Loss Source | MWh Loss | % Contribution |
| --- | --- | --- |
| Inverter Loss | 110 | 39% |
| Grid Loss | 70 | 25% |
| Soiling Loss | 50 | 18% |
| Weather Loss | 30 | 11% |
| Other | 20 | 7% |

## Priority Improvement Area

No.1 Priority: Reduce inverter downtime.

Expected recovery:

- +110 MWh generation

- +₹5.6 Lakh monthly revenue

# 11. Safety & Compliance Report

| Safety Parameter | Status |
| --- | --- |
| Fatal Accident | 0 |
| Lost Time Injury | 0 |
| Electrical Audit | Completed |
| Fire Safety Check | Completed |
| PPE Compliance | 100% |
| Environmental Compliance | Achieved |

## Safety Score

98/100 – Excellent

# 12. Quarterly Improvement Strategy Report

## Three-Month Action Plan

| Project | Timeline | Benefit |
| --- | --- | --- |
| Replace inverter components | Month 1 | Reduce downtime |
| Predictive maintenance implementation | Month 1-2 | Early fault detection |
| Optimize cleaning schedule | Month 1 | Improve PR |
| Upgrade SCADA analytics | Month 2-3 | Better monitoring |
| Spare inventory improvement | Month 2 | Faster restoration |

# 13. CEO Decision Required

| Decision | Reason |
| --- | --- |
| Approve inverter replacement budget | Reduce generation losses |
| Approve predictive maintenance system | Improve reliability |
| Improve grid coordination | Reduce outage losses |
| Approve PR improvement project | Increase revenue |
| Review quarterly improvement roadmap | Increase ROI |

# Final CEO Assessment

## Overall Plant Status: 🟢 STABLE WITH IMPROVEMENT OPPORTUNITIES

### Key Achievements

✅ 99.3% plant availability achieved
✅ Zero safety incidents
✅ OPEX maintained within budget
✅ Strong operational reliability

### Key Concerns

⚠ Generation below target by 5%
⚠ Inverter-related losses are highest contributor
⚠ Corrective maintenance cost increasing

### Expected Next Quarter Improvement

| Area | Expected Benefit |
| --- | --- |
| Generation Recovery | +2–3% |
| PR Improvement | +1% |
| Revenue Recovery | ₹15–20 Lakh/month |
| Downtime Reduction | 30% |

Management Priority:
Focus on inverter reliability, predictive maintenance, and loss reduction to improve generation performance and maximize ROI.